General PCR Protocol

Final PCR reaction will be 100 l total volume with:

  - 100 ng of template DNA

  - 1 mM final concentration of each primer (forward and reverse)

  - 0.2 mM dNTPs

  - 1X DNA polymerase buffer

  - 0.5 ul of PFU (heat-resistant DNA polymerase)

Ahead of time:

Dissolve lyophilized primers in water to make a 500 M stock and store at -20C

Quick Tip: Find nmole on label and add 2X the volume of water in microliters (e.g. if it is 18 nmole then dissolve the lyophilized primer in 36 l of water)

On day of PCR prepare working solutions:

Prepare 20 mM working solution of forward and reverse primers by diluting the 500 mM stock 1:25 into water.

Dilute your template (plasmid) to 100 ng/ul in water (Note: this will come from your minipreps)

Reaction mixture:

- 1 l DNA template

- 5 l forward primer

- 5 l reverse primer

- 5 l of 4 mM dNTP mix

- 10 l of 10X PFU buffer

- 73.5 l of water (will now be a volume of 99.5)

- 0.5 l PFU enzyme – MIX WELL

Thermocycler (PCR machine) protocol:

- 2 minutes at 95C

- 45 seconds at 95C (Denaturation)

- 45 seconds at 55C (Primer annealing)

- 60 seconds at 72C (Extension)

  - Repeat steps 2-4 30X

- 10 minutes at 72C

- Forever at 4C

Extension time rule of thumb for PFU: 2 minutes for first KB and 1 minute for each additional KB

- Since our PCR product will be 500 bp we set extension to 60 seconds